TWB Observation Report — 23 Dec 2013

| Observatory: | AJ4CO Observatory | Instrumentation: | TWB on TFD Array RCP |
| --- | --- | --- | --- |
| Location: | High Springs, Florida |  | DPS on TFD Array RCP / LCP |
| Observer: | Dave Typinski |  | FS-200 on TFD Array RCP+LCP |

| Observer On Duty (UTC): | 0740 | Body: | Jupiter |
| --- | --- | --- | --- |
| Observer Off Duty (UTC): | 0955 | Storm Type: | Io-B |

| Storm Activity (UTC) |  | CML-III | Io  | Off Axis | DE | JS  |  JE |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Begin: | 0800 | 77° | 86° | 12° | +1.62° | –164° | 4.23 AU |
| End: | 0950 | 143° | 101° | 14° |  |  |  |

| Interval |  |  |  |  |  | Fhi | Flo |  |  |  | Drift |  | Rot Rate | TEC |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # | (UTC) | L | S | N | Pol | MHz | MHz | CML | Io | ML | MHz/sec | FB | #/MHz @ F | 1016/m2 |
| 1 | 0910–0950 |  | X |  | RCP | 24 | 32 | 131° | 99° |  |  |  |  | 13.5 |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Interval – Time during which something interesting was observed L, S, N – Indicates presence of L bursts, S bursts, and N events Pol – Dominant circular polarization observed Fhi, Flo – Frequency range of observed emission CML, Io – System III CML and Io phase during noted interval | ML – indicates presence of modulation lanes Drift – Observed modulation lane drift rate in MHz per minute FB – indicates presence of Faraday bands Rot Rate – Observed Faraday rotation rate in rotations per MHz at observing frequency F TEC – Ionospheric vertical total electron count during noted interval as reported by NGDC |
| --- | --- |

Observer Notes

Emission consisted of primarily L bursts visible from 17 to 33 MHz, from 0800 to 0950 UTC. From 0910 to 0950, there was a period of S bursting, primarily from 24 to 28 MHz, but went as high as 32 MHz. This was a very strong event, coming close to 2 MK in the Jove receivers on the TFD array -- about 10 dB hotter than previous storms this season. This storm exhibited very pronounced modulation lanes with positive and negative drift rates, often simultaneously.

| Data File(s): | 32 Gage data files AJ4CO-DPS-131223080000.sps AJ4CO-FS-200-131223100000.sps |  |
| --- | --- | --- |

Io-CML Phase Plane

RJP Sky View

US-TEC Map

| Kp index, 3-hour average: | 0 |
| --- | --- |

CONUS Lightning Activity

| Instrumentation: | DPS on XTFD 60 kHz IF 300 channels, 53 kHz spacing 17–33 MHz |
| --- | --- |

Calibration Scale

Overview Spectrograms (700 px)